# INVITATION TO BID (ITB)

### HVAC, Plumbing, and Electrical Services – Rate Agreement Contract

Presbyterian Medical Services 
1422 Paseo De Peralta 
Santa Fe NM 87501
505-8203471 | patrickdyer@pmsnm.org

ITB Number: ___001-2026_______________
Issue Date: _January 1, 2026_________________
Bid Due Date: _January 30,2026_______ 5:00PM MST
Submission Format: Email Submission/Hard Copy

## 1. Introduction

Presbyterian Medical Services is soliciting sealed bids from licensed and qualified contractors to provide HVAC, Plumbing, and Electrical Services under a unit price / rate agreement contract. Services will be performed on an as-needed basis for maintenance, repair, replacement, emergency response, and minor construction tasks.

The selected contractor(s) will provide all labor, materials, equipment, tools, and supervision necessary to complete work in accordance with all applicable codes and standards.

## 2. Scope of Work

### A. HVAC Services

- Repair, service, and installation of RTUs, split systems, heat pumps, boilers, chillers, VAVs, exhaust systems, and thermostatic controls

- Preventive maintenance tasks

- Refrigerant recovery, leak detection, and charging

- Emergency HVAC response

### B. Plumbing Services

- Repair and installation of domestic water, sanitary, waste, and vent systems

- Gas line installation and repair

- Backflow testing and certification (if applicable)

- Fixture installation and replacement

- Leak detection and emergency repair

### C. Electrical Services

- Troubleshooting and repair of electrical distribution systems

- Breaker panels, feeders, branch circuits

- Lighting repair and replacement (interior/exterior)

- Emergency electrical services

- Optional: Low-voltage installation (if permitted by license)

## 3. Bid Requirements

All proposals must include the following items to be considered responsive:

### A. Rate Sheet

Provide hourly labor rates for:

- Regular time

- Overtime

- Weekend/holiday

- Emergency call-out

- Apprentice/helper rates (if applicable)

- Equipment rates (scissor lift, trencher, etc.)

- Material markup percentage

### B. Company Information

- Company profile and years in business

- List of key personnel & certifications

- Copy of state contractor licenses (Mechanical, Plumbing, Electrical)

- Certificates of insurance (COI)

- Safety program / EMR rating

- List of similar contracts completed within last 5 years

- References (minimum 3)

## 4. Contract Term

This rate agreement will be awarded for a term of:

XX 1 Year 
With an optional renewal upon mutual agreement.

## 5. Submission Instructions

Submit bids to:

General services Department Attn: Patrick Dyer 
1422 Paseo de Peralta 
Santa Fe New Mexico 87501

Digital submissions:
Email: ___patrick.dyer@pmsnm.org_____________________________

All bids must be labeled:
"ITB – HVAC, Plumbing & Electrical Rate Agreement"

Late submissions will not be accepted.

## 6. Evaluation Criteria

Bids will be evaluated based on the following:

- Competitiveness of labor and material rates

- Contractor qualifications and experience

- References and past performance

- Response time and availability

- Completeness and clarity of submission

The agency reserves the right to award to multiple contractors or reject any/all bids.

## 7. Questions

All questions regarding this ITB must be submitted in writing no later than:
Date: _January 16, 2026__

Send inquiries to:
Contact: _Patrick Dyer _____________________________
Email: ___patrick.dyer@pmsnm.org_____________________________

## 8. Bidder Acknowledgment

Company Name: __________________________________________
Address: ________________________________________________
Phone: _________________________________________________
Email: _________________________________________________
Authorized Representative: ________________________________
Signature: ___________________________ Date: ______________